|  |  |  |  |
| --- | --- | --- | --- |
| **Table B.25 SuDS maintenance inspection checklist** | | | |
| **General information** |  | | |
| Site ID |  | | |
| Site location and co-ordinates (GIS if appropriate) |  | | |
| Elements forming the SuDS scheme |  | Approved drawing reference(s) |  |
| Inspection frequency |  | Approved specification reference |  |
| Type of development |  | Specific purpose of any parts of the scheme (eg biodiversity, wildlife and visual aspects) |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Inspection date** | | | | | | | | |
|  | **Details** | **Y/N** | **Action required** | **Date completed** | **Details** | **Y/N** | **Action required** | **Date Completed** |
| **General inspection items** | | | | | | | | |
| Is there any evidence of erosion, channelling, ponding (where not desirable) or other poor hydraulic performance? |  |  |  |  |  |  |  |  |
| Is there any evidence of accidental spillages, oils, poor water quality, odours or nuisance insects? |  |  |  |  |  |  |  |  |
| Have any health and safety risks been identified to either the public or maintenance operatives? |  |  |  |  |  |  |  |  |
| Is there any deterioration in the surface of permeable or porous surfaces (eg rutting, spreading of blocks or signs of ponding water)? |  |  |  |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Silt/sediment accumulation** | | | | | | | | |
| Is there any sediment accumulation at inlets (or other defined accumulation zones such as the surface of filter drains or infiltration basins and within proprietary devices)?  If yes, state depth (mm) and extent.  Is removal required?  If yes, state waste disposal requirements and confirm that all waste management requirements have been complied with (consult environmental regulator) |  |  |  |  |  |  |  |  |
| Is surface clogging visible (potentially problematic where water has to soak into the underlying construction or ground (eg underdrained swale or infiltration basin)? |  |  |  |  |  |  |  |  |
| Does permeable or porous surfacing require sweeping to remove silt? |  |  |  |  |  |  |  |  |
| **System blockages and litter build-up** | | | | | | | | |
| Is there evidence of litter accumulation in the system?  If yes, is this a blockage risk? |  |  |  |  |  |  |  |  |
| Is there any evidence of any other clogging or blockage of  outlets or drainage paths? |  |  |  |  |  |  |  |  |
| **Vegetation** | | | | | | | | |
| Is the vegetation condition satisfactory (density, weed growth, coverage etc)? (Check against approved planting regime.) |  |  |  |  |  |  |  |  |
| Does any part of the system require weeding, pruning or mowing? (Check against maintenance frequency stated in approved design.) |  |  |  |  |  |  |  |  |
| Is there any evidence of invasive species becoming established?  If yes, state action required |  |  |  |  |  |  |  |  |
| **Infrastructure** | | | | | | | | |
| Are any check dams or weirs in good condition? |  |  |  |  |  |  |  |  |
| Is there evidence of any accidental damage to the system (eg wheel ruts?) |  |  |  |  |  |  |  |  |
| Is there any evidence of cross connections or other unauthorised inflows? |  |  |  |  |  |  |  |  |
| Is there any evidence of tampering with the flow controls? |  |  |  |  |  |  |  |  |
| Are there any other matters that could affect the performance of the system in relation to the design objectives for hydraulic, water quality, biodiversity and visual aspects? (Specify.) |  |  |  |  |  |  |  |  |
| **Other observations** | | | | | | | | |
| Information appended (eg photos) |  |  |  |  |  |  |  |  |
| **Suitability of current maintenance regime** | | | | | | | | |
| Continue as current Increase maintenance Decrease maintenance |  |  |  |  |  |  |  |  |
| **Next inspection** | | | | | | | | |
| Proposed date for next inspection |  |  |  |  |  |  |  |  |